## Gera Imperium Green101 stanley
Purchase Invoice No. : 101 |  |  | Date: 11/4/2025
Sr. No. | Bill of Material for CCTV | Quantity | Units | Rates | Amount | Make
1 | 32-channel Network Video Recorder as per Specification | 2 | Nos. | 37000 | 74000 | Honeywell
2 | IP Based Dome vandal proof Camera as per Specification | 16 | Nos. | 7250 | 116000 | Honeywell
3 | IP Based indoor bullet vandal proof Camera as per Specification | 20 | Nos. | 7500 | 150000 | Honeywell
4 | 6 TB Surveillance Hard Disk (Recording @1080, 25 FPS, 2048 Kbps Bit Rate) | 4 | Lot. | 13500 | 54000 | WD/ Seagate
5 | 8 Port PoE (10/100/1000) Switch | 1 | No. | 9000 | 9000 | Std
6 | 16 Port PoE (10/100/1000) switch | 5 | Nos. | 12500 | 62500 | Std
7 | Outdoor Boxes | 16 | Nos. | 100 | 1600 | Std
8 | Indoor Boxes | 16 | Nos. | 100 | 1600 | Std
9 | D-Link Cat 6 Outdoor Cables, 305 Mts (Armoured) max length to be limited to 70 meters for each camera | 4 | Nos. | 29000 | 116000 | D-Link or Similar
10 | 4U Rack D-Link | 3 | Nos. | 6000 | 18000 | D-Link or Similar
11 | Artis Ups 600 VA | 3 | Nos. | 2500 | 7500 | Artis by Powersafe
12 | Wbox 2 mtr HDMI Cables | 1 | No. | 500 | 500 | Std
13 | PVC Pipes | 60 | Mtrs. | 90 | 5400 | Std
14 | D-Link RJ45 | 68 | Nos. | 120 | 8160 | D-Link or Similar
15 | Laying of Cables | 1220 | Mtrs. | 40 | 48800
16 | Installation | 1 | Lot. | 25000 | 25000
TOTAL |  |  |  |  | 698060
GST @18% EXTRA

## Gera Imperium Green101 JP
Purchase Invoice No. : 102 |  |  | Date: 11/4/2025
Sr. No. | Bill of Material for CCTV | Quantity | Units | Rates | Amount
1 | 32-channel Network Video Recorder as per Specification | 2 | Nos. | 48600 | 97200
2 | IP Based Dome vandal proof Camera as per Specification | 16 | Nos. | 9000 | 144000
3 | IP Based indoor bullet vandal proof Camera as per Specification | 20 | Nos. | 9500 | 190000
4 | 6 TB Surveillance Hard Disk (Recording @1080, 25 FPS, 2048 Kbps Bit Rate) | 4 | Lot. | 15500 | 62000
5 | 8 Port PoE (10/100/1000) Switch | 1 | No. | 12000 | 12000
6 | 16 Port PoE (10/100/1000) switch | 5 | Nos. | 18000 | 90000
7 | Outdoor Boxes | 16 | Nos. | 120 | 1920
8 | Indoor Boxes | 16 | Nos. | 120 | 1920
9 | D-Link Cat 6 Outdoor Cables, 305 Mts (Armoured) max length to be limited to 70 meters for each camera | 4 | Nos. | 40000 | 160000
10 | 4U Rack D-Link | 3 | Nos. | 6900 | 20700
11 | Artis Ups 600 VA | 3 | Nos. | 2900 | 8700
12 | Wbox 2 mtr HDMI Cables | 1 | No. | 580 | 580
13 | PVC Pipes | 60 | Mtrs. | 100 | 6000
14 | D-Link RJ45 | 68 | Nos. | 150 | 10200
15 | Laying of Cables | 1220 | Mtrs. | 50 | 61000
16 | Installation | 1 | Lot. | 50000 | 50000
TOTAL |  |  |  |  | 916220
GST @18% EXTRA

## Ritesh Chodankar 102
please refer excel file of ritesh chodankar 102 in quotation

## Ritesh Chodankar 103
Control4 Automation BOM
Feature | Location | Description | Part Number | QTY | Control | Price/Unit | Total Price
Controller
Automation Controller | Server Room | Control4® CORE 5 Controller Support upto 50 iOS & Android devices, Bulit in OvrC. Music service: Pandora,Napster,Spofity,TuneIn,TIDAL,Deezer,SiriusXM,Soundmachine,Iheartradio,Amazon Music,Radio,com,Qobuz. Airplay-enabled. Audio out - 7 ,HDMI Stero Analog & Digital coax IR out - 8 , 5V 27ma max output, Serial out-4 (shared with IR Out 1,2 & 2 DB9) Contacts - 4x:30VDC input, 12VDC 125ma Max output Relays - 4x: AC:36V,2A max across relay: DC:24V,2A max across relay | C4-CORE5 | 1 | IP | 396900 | 396900
Networking
Router | Server Room | Araknis Networks® 110 Series Single-WAN Gigabit VPN Router with Wi-Fi + International PSU Clips | AN-KIT-110WRT-INTL | 1 | IP | 48888
Switch | Server Room | Araknis Networks® 210 Series Websmart Gigabit Switch with Partial PoE+ ¦ 24 + 2 Rear Ports | AN-210-SW-R-24-POE | 1 | IP | 101850
Access Point | Server Room | Araknis Networks® 520 Series Wi-Fi 6 Indoor Wireless Access Point | AN-520-AP-I-1 | 5 | IP | 61677
Dali Lighting
DB BOX | 2CH Dali Gateway Support 128 Dali Drivers | Creative Lighting Ethernet DALI 2-Channel Gateway | CRE-EDIDIO-10-2D | 2 | IP | 169176 | 338352
DB BOX | Dali lIne Power Supply | Dali Line Power Supply | CRE-UBI-V2-PWR | 4 |  | 64281 |  | You can use 3rd party standard dali line power supply also
DB BOX | Dali Gateway Power Supply | Mean Well DIN Rail 60 Watt 24V Power Supply | HDR-60-24 | 2 |  | 41000 | 82000
Relays
8CH-Relay-On/Off & Curtain | DB-Box | Control4® DIN-Rail 8-Channel Relay V2 | C4-DIN-8RELSW-E | 8 | IP | 86184 | 689472
DB Box | 16CH-Relay-On/Off & Curtain | Apex-16CH Multifunction Relay | APX-16RL | 4 | IP | 63000 |  | Alternative Option For C4-DIN-8RELSW-E
Wired Keypad Backend Accessories
Keypad Gateway | DB-Box | Control4® Bus Ethernet Gateway V2 | C4-DIN-BEG-V2 | 1 | IP | 36813 | 36813
Keypad Power Supply | DB-Box | Control4® 48V Bus Power Supply | C4-DIN-BPS48 | 1 |  | 22218 | 22218
Wired Keypads
Keypad |  | Control4® Square Wired Configurable Keypad V2 | C4-SKCB2-N | 25 | Wired | 24528 | 613200
Color Kit |  | Control4® Color Kit, Contemporary, Square Keypad Buttons (Midnight Black) | C4-CKSK-C-MB | 25 |  | 3507 | 87675
Faceplate |  | Control4® Square Single Faceplate, Contemporary (Midnight Black) | C4-SFP1-C-AU | 25 |  | 1239 | 30975
AC/VRF
AC/VRF |  | Intesis multi-brand AC interface with KNX, IP, Modbus, BACnet support - SMALL No. of Indoor Unit- 16 Supported Brands- Daikin, Midea, Voltas, Samsung, Hitachi, Panasonic, LG, Fujitsu, O-General.Mitsubishi units requires CRC unit from the Mitsubishi company (Not in Our Scope) | Intesis | 1 | IP | 136500
Room Controller + Intercom
Touch Screen |  | Control4® T4 Series 10” In-Wall Touchscreen POE (Black) | C4-T4IW10-BL | 2 | IP | 207690 | 415380
Touch Screen Back Box |  | Control4® New Construction In-Wall Touchscreen Back Box (Metal) | C4-NWB57C-M | 2 |  | 3444 | 6888
Video Door Bell
Outdoor Video Door Phone |  | Control4® Chime Video Doorbell, PoE (Black) | C4-VDB-E-BL | 1 | IP | 88053 | 88053
VDP-BackBox |  | Control4® Chime Video Doorbell Junction Box | C4-VDB-JBOX | 1 |  | 5775 | 5775
FAN
230V-Fan |  | 1 Gang T-Mesh 4-Speed Humming Free Switch Module (C4) | TBE 110HF (C4) | 8 | WiFi | 13650 | 109200
Mobile App
Mobile App |  | 1 Year 4Sight Subscription Kit [ Mandatory fo Mobile App] | C4-4Sight-E | 1 |  | 10560 | 10560
[6 empty] | Total | 2933461
Customer Price-Gst Extra
Touch Screen Gst 28%
Rest All Gst 18%
Consider this as high Level BOM , can be reworked based on actuals
Please Note*
*1 Year 4Sight Subscription Kit(C4-4Sight-E) - Optional for Remote Access
*Wallboxes have to be purchased separately.
*Keypad Engraving can be done at additional cost.
*Digital and HDMI Audio Converter Have to add Extra.
*All Prices are EXCLUDING GST
Installation & Commissioning Charges Extra@ 10 to 15% cost involves

## Urvashi 201
Sr.no | Item description | Qty | Unit price | Total
1 | KNX DALI Gateway 2 Channel | 1 | 95000 | 95000
2 | KNX Power Supply 640mA | 1 | 35000 | 35000
3 | KNX Fan Actuator 4 Channel | 2 | 29000 | 58000
4 | KNX IP Router | 2 | 54500 | 109000
5 | Multifunction Front Panel by Panasonic | 8 | 32000 | 256000
6 | Zennio Z 51 Pro / Panasonic Core Touch Screen @ ₹1,20,000 | 1 | 95000 | 95000
7 | KNX Curtain Actuator | 2 | 60000 | 120000
8 | Installation & Commissioning | 1 | 45000 | 45000
Total |  |  |  | 813000
GST @18% EXTRA
Curtains
OPTION -01
AUTOM CURTAIN- QUOTE
S.no | Make / Brand | Product Description |  |  | Qty | UOM | Price | Line Total | TRACK RMTS
1 | AUTOM | a. | MOTOR &FABRICATED TRACK PRICE (NORMAL RUNNER)(M) |  | 1 | No.s | 18900 | 18900 | UPTO 5.99M
|  | b. | Channel & others Accessories |  | 1 | No.s | 5900 | 5900
2 |  | a. | MOTOR &FABRICATED TRACK PRICE (NORMAL RUNNER)(S) |  | 1 | No.s | 18900 | 18900
|  | b. | Channel & others Accessories |  | 1 | No.s | 5900 | 5900
TOTAL | [7 empty] | 49600
GST @18% EXTRA
*Considering 8 Curtains
1 | [8 x (1a + 1b)] [8 x (18900 + 5900)] | [6 empty] | 198400
2 | [8 x (2a + 2b)] [8 x (18900 + 5900)] | [6 empty] | 198400
| Total | [6 empty] | 396800
GST @18% EXTRA
OPTION -02
S.no | Make / Brand | Product Description |  |  | Qty | UOM | Price | Line Total | TRACK RMTS
1 | HD | a. | HD Silent Heavy Duty PLEATED Curtain Track With Accessories (M) |  | 1 | No.s | 19800 | 19800 | Upto 5.99
|  | b. | HD-60G QRF-AC-6 Wire Motor |  | 1 | No.s | 18000 | 18000
2 | HD | a. | HD Silent Heavy Duty PLEATED Curtain Track With Accessories (S) |  | 1 | No.s | 19800 | 19800 | Upto 5.99
|  | b. | HD-60G QRF-AC-6 Wire Motor |  | 1 | No.s | 18000 | 18000
TOTAL | [7 empty] | 75600
GST @18% EXTRA
*Considering 8 Curtains
1 | [8 x (1a + 1b)] [8 x (19800 + 18000)] | [6 empty] | 302400
2 | [8 x (2a + 2b)] [8 x (19800 + 18000)] | [6 empty] | 302400
| Total | [6 empty] | 604800
GST @18% EXTRA

## Kara Homes 202
CCTV
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT | KHORLIM PRANEEL 205
1 | Honeywell 2MP IP Bullet/DOME Camera | 7 | 4200 | 29400
2 | Honeywell 10 CH/ 8 CH NVR | 1 | 18000 | 18000
3 | 8+2 Port giga POE Switch | 1 | 9500 | 9500
4 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5200 | 5200
5 | RJ 45 Connector With Crimping etc complete | 18 | 150 | 2700
6 | Enclosure with mounting | 7 | 100 | 700
7 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 70500
GST @18% EXTRA
Supply and laying of cat 6 cables through PVC pipe / casing caping to be charged as actualls @ 90/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) HDMI cable (3mtrs) @ 550/- + GST
4) Network Rack @ 2900/- + GST
EPABX system
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Central Console Matrix 416 | 1 | 33450 | 33450
2 | Beetel C11 handset | 15 | 470 | 7050
3 | Beetel C51 handset at security | 1 | 755 | 755
4 | MDF BOX | 1 | 3500 | 3500
5 | RJ 27 Connector with Crimping | 32 | 100 | 3200
6 | INSTALLATION TESTING COMMISSIONING | 1 | 3500 | 3500
TOTAL |  |  |  | 51455
GST @18% EXTRA
Supply and laying of 4 pair telephone cables through PVC pipe / casing caping to be charged as actualls @ 90/- per mtr + GST
*Civil work and underground laying charges shall be extra, as per actualls or to be provided by client.

## DTL 203
Projector Screen
Sr.no | Item description | Qty | Unit price | Total
1 | 5 x 7ft motorised screen | 1 | 35000 | 35000
2 | 2ft Projector Lift | 1 | 55000 | 55000
3 | Projector – Full HD projector 3000 common or similar viewsonic | 1 | 78000 | 78000
4 | Installation Testing Commissioning | 1 | 15000 | 15000
Total |  |  |  | 183000
Discount |  |  |  | 14000
GRAND TOTAL |  |  |  | 169000
GST @18% / 28% EXTRA
* in lieu of:
1) 5 x 7ft motorised screen elite @Rs 68000/- +GST
Audio
Sr.no | Item description | Qty | Unit price | Total
1 | Phase by Soundtube JCS-6R-1W LCR in wall speakers with magnetic paintable grille | 3 | 29300 | 87900
2 | Phase by Soundtube JCS6R surround in ceiling speaker | 2 | 19800 | 39600
3 | Phase by Soundtube JHVIOILP subwoofer | 1 | 77000 | 77000
4 | Denon 8K, 5.2 CH AVR | 1 | 78000 | 78000
5 | Miscellaneous | 1 | 5000 | 5000
6 | Installation Testing Commissioning | 1 | 14000 | 14000
Total |  |  |  | 301500
Discount |  |  |  | 23000
GRAND TOTAL |  |  |  | 278500
GST @18% / 28% EXTRA
Lighting
Automation
Sr.no | Item description | Qty | Unit price | Total
1 | • KNX 640mA Power Supply • 180-270VAC 50Hz or 250-320VDC input voltage • 29VDC output | 1 | 19800 | 19800
2 | •KNX Interface for Ourican View (Messung Mobile App) • 120 control functions in 15 pages (Per Page = 8 Functions) Zennio or F41 touchscreen with 12 pages & IP gateway | 1 | 94000 | 94000
3 | KNX Curtain Relay | 1 | 23900 | 23900
4 | • 1 DALI output for max. 64 ECGs • Individual control up to 64 ECGs / 16 DALI groups • Supports DALI and DALI-2 standard • RGB control • 16 scene functionality | 1 | 68900 | 68900
5 | KNX cable for bus communication supply only | as actuals | 94 per mtr | 0
6 | KNX IP router interfacing | 1 | 27500 | 27500
7 | KNX ETS interface usage one time | 1 | 22900 | 22900
8 | Installation Testing Commissioning | 1 | 45000 | 45000
Total |  |  |  | 302000
GST @18% / 28% EXTRA
In wall ceiling niche and civil & cashing work to be provided.
Cabling with belden oxygen free & magnetic repulsion free cable to be provided with accessories
Curtains
OPTION -01
AUTOM CURTAIN- QUOTE
S.no | Make / Brand | Product Description |  |  | Qty | UOM | Price | Line Total | TRACK RMTS
1 | AUTOM | a. | MOTOR &FABRICATED TRACK PRICE (NORMAL RUNNER)(M) |  | 1 | No.s | 18900 | 18900 | UPTO 5.99M
|  | b. | Channel & others Accessories |  | 1 | No.s | 5900 | 5900
TOTAL | [7 empty] | 24800
GST @18% / 28% EXTRA
OR
OPTION -02
S.no | Make / Brand | Product Description |  |  | Qty | UOM | Price | Line Total | TRACK RMTS
1 | HD | a. | Hunter Douglas Silent Heavy Duty PLEATED Curtain Track With Accessories (M) |  | 1 | No.s | 19800 | 19800 | Upto 5.99
|  | b. | Hunter Douglas-60G QRF-AC-6 Wire Motor |  | 1 | No.s | 18000 | 18000
TOTAL | [7 empty] | 37800
GST @18% / 28% EXTRA

## Gomeco Housing co.sco. 204
Sr.no | Item description | Qty | Unit price | Total
1 | Boom Basic Realtime DC Power | 1 | 60000 | 60000
2 | Photocell | 1 | 4500 | 4500
3 | Key fob | 1 |  | 0
4 | UHF Reader | 1 | 24900 | 24900
5 | Controller | 1 | 14900 | 14900
6 | Installation Testing Commissioning | 1 | 14000 | 14000
Total |  |  |  | 118300
GST @18% EXTRA
* Item sr no. 3, 4 & 5 are optional
3 | Key fob | 1 |  | 0
4 | UHF Reader | 1 | 24900 | 24900
5 | Controller | 1 | 14900 | 14900
* Item sr no. 3, 4 & 5 are optional |  |  |  |  | PRICING AS BELOW
R500S UHF READER 10 METER - 14900+18%
UHF TAG - 30+18%
R207 BOOM BARRIER - 22000+18%
PHOTOCELL - 2000+18%
T4D CONTROLLER ONLY - 9750+18%
T4D CONTROLLER WITH ENCLOSURE WITH POWER SUPPLY PRICE - 11500+18%

## Gera's Imperium Green
Sr.no | Item description | Qty | Unit price | Total
1 | Boom Basic Realtime DC Power | 4 | 60000 | 240000
2 | Photocell | 4 | 4500 | 18000
3 | Key fob | 2 | 2x rate
4 | UHF Reader | 2 | 24900 | 49800
5 | Controller | 2 | 14900 | 29800
6 | Installation Testing Commissioning | 4 | 14000 | 56000
Total |  |  |  | 393600
GST @18% EXTRA