PROFORMA INVOICE

Quotation no: B&F B PI-302

Date 08/11/2024

To,

B&F Realty-Villa 3

Goa

Dear Sir,

Kindly find the quotation as per your requirement.

ENDO

| Sr No | Specification Description |  |  |  |  | Symbol |  | Manufacturer |  |  | Total Quantity |  | Remarks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | LED Strip Light with flat Channel & Clear Cover. |  |  |  |  |  |  | OSRAM LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Extruded aluminium Channel & clear Cover. |  |  |  |  | COV1 |  | LFP 1200S-G5-930-10 L1 |  |  | 57.50 |  | The actual Lengths required to be confirmed as per site. |  |  |  |
|  | Dimension: 17.1 X 8mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: DG-A002 with Clear Cover |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 11.6W/Mt, 3000K, CRI=90+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output :1100lm/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 11.6W/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LED Strip Light along circular cove. |  |  |  |  |  |  | OSRAM LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: 24 V LED strips flexible and cuttable, 50 mm cut unit, with superior optically graded silicone encapsulation. |  |  |  |  | COV1c |  | GFDS600-G1-830-01 |  |  | 14.00 |  | The actual Length required in Circular cove, to be confirmed as per Site. |  |  |  |
|  | Dimension: 10 X 10mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: Fixing clips |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 9W/Mt LED, 110º 3000K, CRI=90+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 620lm/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 9W/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | LED Strip light with 45° Channel & Diffuse Cover. |  |  |  |  |  |  | OSRAM LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Extruded aluminium Channel & 45° Cover |  |  |  |  | COV2 |  | LFP800S -G5-930-10 L1 |  |  | 104.50 |  | Mounted in wardrobes & Curtain pelmets. Actual lengths to be confirmed as per site. |  |  |  |
|  | Dimension: 16 X 16mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: DG-A008 with Diffuse Cover |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 8W/Mt LED, 3000K, CRI=90+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 840 lm/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 8W/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | LED Strip Light with Flat Channel & Dotless Diffuse Cover |  |  |  |  |  |  | OSRAM LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Extruded aluminium Channel & Diffuse Cover |  |  |  |  | COV3 |  | LFP800S -G5-930-10 L1 |  |  | 67.50 |  | For task Lighting in Kitchen. Actual lengths to be confirmed as per Site. |  |  |  |
|  | Dimension:17.1mm X 8mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: DG-A002 with Diffuse Cover |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 8W/Mt LED, 3000K, CRI=90+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output :840lm/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 8W/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | LED Strip Light with Channel & Dotless Diffuse Cover |  |  |  |  |  |  | OSRAM LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Extruded aluminium Channel & Diffuse Cover |  |  |  |  | COV4 |  | LF500-G1-930-10 L2 |  |  | 128.50 |  | Actual Length to be confirmed as per site. |  |  |  |
|  | Dimension: 17.1mm X 8mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: DG-A010 with Diffuse Cover |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 3.9W/Mt LED, 3000K, CRI=90+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 400lm/Mt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 3.9W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Flex Light with Top View |  |  |  |  |  |  | OSRAM LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Silicone |  |  |  |  | FLX1 |  | GFDT400-G1-830-01 |  |  | 9.20 |  | Actual Length to be confirmed as per site. |  |  |  |
|  | Dimension: 10mm X 10mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: Mounting Clips. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 6W/Mts LED ,110° CRI=90+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 420lm/Mts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 6W/Mts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Ceiling Recessed LED Down Light (IP Rated) |  |  |  |  |  |  | ENDO LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Die cast Aluminium |  |  |  |  | IPR1 |  | GERD8901W-T |  |  | 33.00 |  |  |  |  |  |
|  | Dimension:Trim∅=60mm, Ht=95mm |  |  |  |  | White Trim |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp:10.2W LED, 22° Fixed,3000K, CRI=90+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 446lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 10.2W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP44 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | In-ground LED Up lighter. |  |  |  |  |  |  | PUK LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Aluminium Body & Stainless Steel Trim |  |  |  |  | IUL1 |  | 201073 |  |  | 15.00 |  |  |  |  |  |
|  | Dimension: Trim∅=81mm, & Ht=85mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 5W LED, 10°, 3000K CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 489lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Non-Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 5W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP68 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Profile System , Recessed Magnetic Track. |  |  |  |  |  |  | DELTA LIGHTING |  |  |  |  | Drawing to be shared with Vendor to finalize unit modules & connectors. |  |  |  |
|  | Housing: Anodised Aluminum |  |  |  |  | PSY1 |  | Splitline M20 |  |  | 12.00 |  |  |  |  |  |
|  | Dimensionin Section : W=53mm, D=50mm |  |  |  |  |  |  |  |  |  | Mtrs. |  |  |  |  |  |
|  | Accessory: Connector Sets - As per Vendor. |  |  |  |  |  |  |  |  |  | LEngth |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9a | Recessed Linear LED light in Profile System. |  |  |  |  |  |  | DELTA LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Anodised Aluminum |  |  |  |  | M1 |  | LND-06-SP-30F-B-M-MDL (23303 9000) |  |  | 8.00 |  |  |  |  |  |
|  | Dimension: L=621mm W=20mm, D=50mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Accessory: SplitLine M20 - Profile |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 9.1W/621mm LED, 3000K, CRI=90+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 625lm/621mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 9.1W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9b | Recessed LED Twin Spot light in Profile System. |  |  |  |  |  |  | DELTA LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Anodised Aluminum |  |  |  |  | M2 |  | B (233179320) |  |  | 12.00 |  |  |  |  |  |
|  | Dimension: TrimØ=39mm, L=170mm H=116mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Accessory: SplitLine M20 - Profile |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 2X8.5W LED, 3000K, CRI=90+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1089lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 2X8.5W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Ceiling Recessed LED Pin Spot Down Light. |  |  |  |  |  |  | ENDO LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | PNS1 |  | GERD9898W-T |  |  | 5.00 |  |  |  |  |  |
|  | Dimension: Trim∅=37mm, CutOut∅=35mm Ht=42mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 3.1W LED 29°, Focusable, 3000K, CRI=93+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output: 178lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Cosumption: 3.1W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Ceiling Recessed LED Pin Spot Down Light. |  |  |  |  |  |  | ENDO LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | PNS2 |  | GERD9869W-T |  |  | 8.00 |  |  |  |  |  |
|  | Dimension: Trim∅=60mm,Cut Out∅=50mm Ht=101mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 10.3W LED 21°, Focusable, 3000K, CRI=93+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output: 446lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Cosumption: 10.3W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Ceiling Recessed LED Down Light. |  |  |  |  |  |  | ENDO LIGHTING |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | RDN1 |  | GERD8280WB-T |  |  | 37.00 |  |  |  |  |  |
|  | Dimension:∅=85mm, H=135mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 19.6W LED 20°, Focusable, 3000K, CRI=93+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output: 807lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Cosumption: 19.8W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Ceiling Reccesed LED Down Light. |  |  |  |  |  |  | ENDO Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | RDN2 |  | GERD8282WB-T |  |  | 23.00 |  |  |  |  |  |
|  | Dimension:L=∅=85mm, H=135mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 19.6W LED 33°, Focusable, 3000K, CRI=93+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1116lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 19.8W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Ceiling Reccesed LED Twin Down Light.(Black Trim Required) |  |  |  |  |  |  | ENDO Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | RDN3 |  | GERD8849W-T |  |  | 32.00 |  | Black Trim Finish (I.D to confirm) |  |  |  |
|  | Dimension: o 122 X65mm & H=115mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp:14.2W LED, 26°, Focusable, 3000K, CRI=93+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1254lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 14.2W/Unit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Ceiling Recessed LED Down Light |  |  |  |  |  |  | ENDO Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | RDN4b |  | GERD8127WA-T |  |  | 15.00 |  | Black Trim Finish (In Bedroom 04 sloping ceiling) |  |  |  |
|  | Dimension: ∅=108mm, Depth=100mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 19.8W LED,19°, Focusable ,3000K CRI=96+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1377lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 19.8W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Ceiling Recessed LED Down Light |  |  |  |  |  |  | ENDO Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | RDN4w |  | GERD8127WA-T |  |  | 12.00 |  | White Trim Finish (In Terrace Lobby sloping ceiling) |  |  |  |
|  | Dimension: ∅=108mm, Depth=100mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 19.8W LED,19° , Focusable ,3000K CRI=96+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1377lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 19.8W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | Ceiling Recessed LED Down Light |  |  |  |  |  |  | ENDO Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | RDN5 |  | GERD8202WB-T |  |  | 5.00 |  |  |  |  |  |
|  | Dimension: ∅=108mm, Depth=133mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 28.5W LED, 32°, Fixed Optics, 3000K CRI=83+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1597lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 28.5W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Surface Mounted LED Down Light. |  |  |  |  |  |  | ABBY Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast aluminium |  |  |  |  | SDN1 |  | iPlane round surface-15W |  |  | 14.00 |  |  |  |  |  |
|  | Dimension: ∅=152mm & H=38mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 15W LED, 116°, Fixed, 3000K, CRI=96+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1209lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Integral LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 15W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP44 Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Ceiling Recessed LED Light, Fixed. |  |  |  |  |  |  | ABBY Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Spun Aluminium |  |  |  |  | SDN2 |  | SPA 63 - 22W |  |  | 12.00 |  |  |  |  |  |
|  | Dimension: ∅=94mm, Cutout∅=84 & Height=104mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 22W LED, 32° Fixed, 3000K, CRI=90+(R9≥40+) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 1704 lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 22W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | minimum IP44 Required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Spike Mounted LED Projector Light. |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Hard Anodized Aluminium |  |  |  |  | SPK1 |  | 101903 |  |  | 11.00 |  |  |  |  |  |
|  | Accessories : Anti-glare snoot (AC098)& Spike (AC044) |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Dimension: ∅=50mm, Ht=90mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 10W LED,10º, 3000K CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 489lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Non-Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 10W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Spike Mounted LED Projector Light. |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Hard Anodized Aluminium |  |  |  |  | SPK2 |  | 101901 |  |  | 11.00 |  |  |  |  |  |
|  | Accessory: Anti-glare snoot (AC098) & Ground Burried Spike (AC044) |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Dimension: ∅=35mm, Ht=63mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lamp: 3W LED, 45º, 3000K CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 230lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Non-Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 3W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP66 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | Underwater LED Up Lighter. |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Stainless Steel |  |  |  |  | UWL3 |  | 301004 |  |  | 2.00 |  | Black Finish Required |  |  |  |
|  | Dimension: TrimØ=81mm, Cut OutØ=79mm & Ht=100mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 6W LED, 10°, 3000K, CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 576lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Remote LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 6W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP68 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | Wall Mounted LED Light. |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast Aluminium |  |  |  |  | WML1 |  | 402403 |  |  | 5.00 |  |  |  |  |  |
|  | Dimension: L=354mm, W=120mm & Ht=36mm. |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 12W LED, 3000K, CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 574lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Integral LED Driver. Dali Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 12W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Wall Recessed LED Light. |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast Aluminium |  |  |  |  | WRL1 |  | 502017 |  |  | 11.00 |  |  |  |  |  |
|  | Dimension: Trim Size=255 X 76mm, Depth= 81mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 7W LED, 120°, 3000K, CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 180lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Integral LED Driver. Non- Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 7W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | Wall Recessed LED FootLight. |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Stainless Steel |  |  |  |  | WRL2 |  | 502015 |  |  | 21.00 |  |  |  |  |  |
|  | Dimension: Trim Size=79 X 79mm, Depth= 77mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 1W LED, 3000K, CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 60lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Integral LED Driver. Non- Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 1W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Wall Recessed LED Light (To be Customize to 4W). |  |  |  |  |  |  | PUK Lighting |  |  |  |  |  |  |  |  |
|  | Housing: Die cast Aluminium |  |  |  |  | WRL3 |  | 502017 |  |  | 6.00 |  |  |  |  |  |
|  | Dimension: Trim Size=255 X 76mm, Depth= 81mm |  |  |  |  |  |  |  |  |  | Nos |  |  |  |  |  |
|  | Lamp: 4W LED, 120°, 3000K, CRI=80+ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lumen Output : 100lm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Control Gear: Integral LED Driver. Non- Dimmable. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power Consumption: 4W |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP65 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Payment Terms

100% Advance

As discussed, 50% on PI and balance 50% before delivery dispatch

Company’s Bank Details

Bank Name: Central Bank of India

Account Number: 3167002097

Branch & IFS Code: Panaji & CBIN0280713

Terms & conditions apply.

Supply item only

Item once supplied cannot be returned.

Any physical damage to be informed at the time of delivery its self

If payment not received on time interest @ 15% will be levied per annum.

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Supply done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Standard Terms and Conditions of JP Techatronics applied.

Logistics, inspection and Courier charges extra during warranty period in client scope.

Additional Services/ Service calls/ visits to be charged as actuals.