## Sheet1
TOTAL
Control Cabling
6.1 | Supply and laying of 1100V PVC insulated sheathed armoured Fire retarded low smoke (FRLS) control cables with multi stranded Copper conductors generally as specified and shown in drawings and shall include the terminations as well on both the ends
6.1.1 | 2 Core 1.0 Sqmm FRLS Armoured Unscreened cable for Digital Output Signal | Mts | 1725 | 120 | 207000
6.1.2 | 2 Core 1.0 Sqmm FRLS Armoured Screened cable for Analog Signal & Communication | Mts | 18740 | 159 | 2979660
6.1.3 | 4 Core 1.5 Sqmm FRLS Armoured Unscreened cable for Digital Input Signal | Mts | 11780 | 195 | 2297100
6.1.4 | 3 Core 1.5 Sqmm FRLS Armoured Unscreened cable for DDC Power | Mts | 1760 | 174 | 306240
3.7 | SENSORS & FIELD DEVICES
Supply, installation, testing & commissioning of the following sensors with all necessary mounting accessories.
3.7.1 | Water DP Switch | Nos | 17 | 15900 | 270300
3.7.2 | Water Tank Level Switch | Nos | 6 | 6900 | 41400
3.7.3 | Flameproof Level Transmitter | Nos | 20 | 27900 | 558000
3.7.4 | Flameproof Level Switch | Nos | 4 | 6900 | 27600
3.7.5 | Air DP Switch for Filter Status | Nos | 69 | 3600 | 248400
3.7.6 | Air DP Switch for Fan Status | Nos | 69 | 3600 | 248400
3.7.7 | Duct Type Temperarture Sensor | Nos | 69 | 3600 | 248400
3.7.8 | Duct Type CO2 Sensor | Nos | 69 | 21600 | 1490400
3.7.9 | Surface Mount Temperature Sensor | Nos | 3 | 21300 | 63900
6 | Cable Trays
Supply & installation of Hot Dip Galvanised perforated cable trays with necessary frame etc. for power cables as specified and shown in the drawings.
6.3.1 | 600mm wide horizontal / vertical tier. | rm | 100 | 1500 | 150000
6.3.2 | 450mm wide horizontal / vertical tier. | rm | 100 | 990 | 99000
6.3.3 | 300mm wide horizontal / vertical tier. | rm | 500 | 750 | 375000
6.3.4 | 150mm wide horizontal / vertical tier. | rm | 200 | 500 | 100000
6.3.5 | 100mm wide horizontal / vertical tier. | rm | 200 | 450 | 90000
6.3.6 | 50mm wide horizontal / vertical tier. | rm | 200 | 400 | 80000
6 | Supply and laying of Hot Dip Galvanised Openable Trunking with all necessary fittings, accessories like clams, supporting and fitting members as required,
6.4.1 | 300mm X 50mm | rm | R.O | 900
0
6.4.2 | 200mm X 50mm | rm | R.O | 690
0
6.4.3 | 150mm X 50mm | rm | R.O | 600
0
6.4.4 | 100mm X 50mm | rm | R.O | 450
9880800