Tender

Date:08/04/2025

To,

The Secretary

Gera Imperium Green Society

Neaugi Nagar, Mala, Panaji Goa

Subject: Tender Submission for “Tender No. GIGCMHS/MAR/001”

Dear Sir,

We are pleased to submit our proposal in response to the tender notice Gera Imperium Green Society, Neaugi Nagar, Mala, Panaji, Goa, invite bids for supply, installation, testing, and commissioning of IP-Based Video Surveillance System (CCTV) at its Complex at Mala, Panaji, Goa. Tender No. GIGCMHS/MAR/001. Please find below the details of our tender:

| Sr. No. | Bill of Material for CCTV | Quantity | Units | Rates | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 32-channel Network Video Recorder as per Specification | 2 | Nos. | 48600 | 97,200.00 |
| 2 | IP Based Dome vandal proof Camera as per Specification | 16 | Nos. | 9000 | 144,000.00 |
| 3 | IP Based indoor bullet vandal proof Camera as per Specification | 20 | Nos. | 9500 | 190,000.00 |
| 4 | 6 TB Surveillance Hard Disk (Recording @1080, 25 FPS, 2048 Kbps Bit Rate) | 4 | Lot. | 15500 | 62,000.00 |
| 5 | 8 Port PoE (10/100/1000) Switch | 1 | No. | 12000 | 12,000.00 |
| 6 | 16 Port PoE (10/100/1000) switch | 5 | Nos. | 18000 | 90,000.00 |
| 7 | Outdoor Boxes | 16 | Nos. | 120 | 1,920.00 |
| 8 | Indoor Boxes | 16 | Nos. | 120 | 1,920.00 |
| 9 | D-Link Cat 6 Outdoor Cables, 305 Mts (Armoured) max length to be limited to 70 meters for each camera | 4 | Nos. | 40000 | 160,000.00 |
| 10 | 4U Rack D-Link | 3 | Nos. | 6900 | 20,700.00 |
| 11 | Artis Ups 600 VA | 3 | Nos. | 2900 | 8,700.00 |
| 12 | Wbox 2 mtr HDMI Cables | 1 | No. | 580 | 580.00 |
| 13 | PVC Pipes | 60 | Mtrs. | 100 | 6,000.00 |
| 14 | D-Link RJ45 | 68 | Nos. | 150 | 10,200.00 |
| 15 | Laying of Cables | 1220 | Mtrs. | 50 | 61,000.00 |
| 16 | Installation | 1 | Lot. | 50000 | 50,000.00 |
| TOTAL |  |  |  |  | 916,220.00 |
| GST @18% EXTRA |  |  |  |  |  |

Client scope:

Scaffolding wherever required to be provided.

Electrification wherever necessary to be provided.

Fabrication like poles etc. to be provided.

Fabricated poles if required to be provided.

Civil work if required.

Payment Terms

100% Advance

Company’s Bank Details

Bank Name: Central Bank of India

Account Number: 3167002097

Branch & IFS Code: Panaji & CBIN0280713

Terms & conditions apply.

Quotation valid for 10 days only.

If payment not received on time interest @ 15% will be levied per annum.

GST @18% EXTRA

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.

Thank you for considering our proposal.

Sincerely,

JP Techatronics

Siddhiraj J. Pednekar