Tender Submission

Date 07/04/2025

To,

Gera Imperium Green Society

Neaugi Nagar, Mala, Panaji Goa

Subject: Tender Submission for Tender No.GIGCMHS/MAR/001

Dear Sir/Madam,

With reference to your invitation for tender regarding the Supply, Installation, Testing, and Commissioning of an IP-Based Video Surveillance System (CCTV), we hereby submit our proposal for your kind consideration.

Please find enclosed our detailed technical and financial quotation. Our proposal covers all aspects including supply of equipment, installation, testing, and commissioning of the complete CCTV system in accordance with your specifications.

| Sr. No. | Bill of Material for CCTV | Quantity | Units | Rates | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 32-channel Network Video Recorder as per Specification | 2 | Nos. | 37000 | 74,000.00 |
| 2 | IP Based Dome vandal proof Camera as per Specification | 16 | Nos. | 7250 | 116,000.00 |
| 3 | IP Based indoor bullet vandal proof Camera as per Specification | 20 | Nos. | 7500 | 150,000.00 |
| 4 | 6 TB Surveillance Hard Disk (Recording @1080, 25 FPS, 2048 Kbps Bit Rate) | 4 | Lot. | 13500 | 54,000.00 |
| 5 | 8 Port PoE (10/100/1000) Switch | 1 | No. | 9000 | 9,000.00 |
| 6 | 16 Port PoE (10/100/1000) switch | 5 | Nos. | 12500 | 62,500.00 |
| 7 | Outdoor Boxes | 16 | Nos. | 100 | 1,600.00 |
| 8 | Indoor Boxes | 16 | Nos. | 100 | 1,600.00 |
| 9 | D-Link Cat 6 Outdoor Cables, 305 Mts (Armoured) max length to be limited to 70 meters for each camera | 4 | Nos. | 29000 | 116,000.00 |
| 10 | 4U Rack D-Link | 3 | Nos. | 6000 | 18,000.00 |
| 11 | Artis Ups 600 VA | 3 | Nos. | 2500 | 7,500.00 |
| 12 | Wbox 2 mtr HDMI Cables | 1 | No. | 500 | 500.00 |
| 13 | PVC Pipes | 60 | Mtrs. | 90 | 5,400.00 |
| 14 | D-Link RJ45 | 68 | Nos. | 120 | 8,160.00 |
| 15 | Laying of Cables | 1220 | Mtrs. | 40 | 48,800.00 |
| 16 | Installation | 1 | Lot. | 25000 | 25,000.00 |
| TOTAL |  |  |  |  | 698,060.00 |

GST @18% EXTRA

We assure you of our commitment to quality, timely delivery, and technical excellence in carrying out the project. We look forward to the opportunity of working with Gera Imperium Green Society

.

Payment Terms

50% Advance

Balance after Completion

Company’s Bank Details

Bank Name: Kotak Mahindra Bank

Account Number: 5212165028

Account Name: Stanley Fernandes

IFS Code: KKBK0002495

Terms & conditions apply.

Quotation valid for 12 days only.

If payment not received on time interest @ 15% will be levied per annum.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving Techwizard It Solutions.

Solution done as per recommendation and request by client hence, Techwizard It Solutions or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.

All Civil, electrical and fabrication work will be in your scope.

Any extra item if required to be charged as actual.